## Slide 1: A Hybrid brain computer interface based on SSVEP/MI for controlling an exoskeleton wrist with 1 DOF
Yifang (Gloria) HOU, rongze (rebecca) ma
Mechatronics Engineering, Supervised by Professor xie

## Slide 2: WHAT IS BCI?
Brain Computer Interface: a system which allows the user to communicate with machines using brain waves without physical movement
Electrode along scalp [1]
[1] Wolpaw, J. R., and Wolpaw, E. W. (2012). Brain-Computer Interfaces Principles and Practice. Oxford University Press.
Electrode

## Slide 3: Ssvep based bci system
SSVEP responses are triggered by visual stimuli
e.g. Flickering LED lights
Test subject gazing at the flickering light

## Slide 4: MI based bci system
MI responses triggered by imagination of body movements
Control external devices without any physical interactions
TELEKINESIS!

## Slide 5: significance
[2] Ang.K, Chua,K, Ang.B, Kuah.C, Wang.C, Phua.K, Chin.Z, Zhang.H (2009). A clinical study of motor imagery-based brain-computer interface for upper limb robotic rehabilitation, in Proceeding of 2009 Annual International Conference of the IEEE Engineering in Medicine and Biology Society, pp.5981-5984.
Clinical studies proved that MI-based BCI systems are more efficient than the traditional passive rehabilitation process [2]
MI based BCI systems are found to be slow with relatively low accuracy rate
Hybrid system can take advantages of each individual BCI system
Traditional passive rehabilitation process

## Slide 6: OBJECTIVE
Develop a sequential SSVEP-MI based Hybrid BCI system to control a 1 DOF artificial arm
SSVEP: controls downward movement
MI: controls upward movement
Two hybrid BCI types
Simultaneous
Sequential

## Slide 7: hardware
mi
SSVEP
Equipment setup
International 10–20 system
Front
Back

## Slide 8: artificial arm
1 DOF artificial arm

## Slide 9: Offline experiments
To determine important parameters that will be needed in the final online hybrid system
SSVEP: 18 test subjects were recruited
MI: 8 test subjects were recruited
A total of 4 findings

## Slide 10: Ssvep: RESULTS #1
Four frequencies, 10, 11, 12 and 13Hz were tested
11/18 test subjects had the highest SSVEP response at 10Hz ± 0.05
Visual fatigue has a large effect on the performance
Sample result using 10Hz stimulus frequency

## Slide 11: Ssvep: RESULTS #2
Accessed the effect of covering the dominant eye on SSVEP response
92% of the results showed a decrease in amplitude and SNR with varying degrees
Position of the stimuli is important at obtaining satisfactory responses

## Slide 12: MI: RESULTS #1
Training is important for obtaining satisfactory MI responses
The more vivid the user can imagine, the best the MI response
Training is a fantastic process at helping the user to improve the way they imagine
Sample result obtained from test subject with no previous training
Sample result obtained from test subject with previous training
Sample result obtained from another test subject with no previous training

## Slide 13: MI: RESULTS #2
Sample result showing the difference between single hand movement imagination and whole body movement imagination
The more active the brain is, the better the MI response
Signal analysing method is one of the key aspect in BCI system design
15s
15s
15s
15s

## Slide 14: Online system structure
Closed-loop system:
Signal Generation
Signal Acquisition
Signal Processing
Application Interface
Control Algorithm
Feedback
Feedback online BCI system

## Slide 15: SINGULAR SSVEP BASED BCI
Signal Acquisition (DAQ)
Signal Processing
Signal Generation (stimuli: flickering LEDs)
Application Interface
SSVEP based BCI model in Simulink

## Slide 16: SINGULAR MI BASED BCI
Signal Generation (self-paced
control) & DAQ
Signal Processing
Application Interface
Alpha band
Beta band
MI based BCI model in Simulink

## Slide 17: Udp server/client
Communicator between Simulink and Labview

## Slide 18: Hybrid system
Digitized EEG signals from DAQ
Develop a sequential SSVEP-MI based Hybrid BCI system to control a 1 DOF artificial arm
Selector classifies the current states: Relax (0), Gaze(1) or Imagine (2)
Hybrid BCI logic diagram

## Slide 19: MOVEMENT CONTROL
Actuator in Labview defines the direction and angle of movements
State 0: angle stays the same. The artificial arm is neither moving upwards nor downwards.
State 1: decreases the current angle by 0.2o - moving downwards.
State 2: increases the current angle by 0.2o - moving upwards.
Movement range: ±30o
Movement control algorithms in Labview
Finite State Machine of Algorithms

## Slide 20
RESULTS #1
Performance of online SSVEP model:
Threshold: 400
Accuracy: 98.17%
Operating delay: 2.5 sec.
Time (sec)
EEG magnitude
Energy of signals changes over time

## Slide 21
RESULTS #2
Time (sec)
EEG magnitude
Performance of online MI model:
Threshold: 60
Accuracy: 99.04%
Operating delay: 3.5 sec.
Power Spectral Density of MI changes over time

## Slide 22: RESULTS #3
Information Transfer Rate (ITR):
ITR =}
SSVEP: 24 bit/min
MI: 17.14 bit/min
Hybrid: 15 bit/min
Accuracy: 83.26%
Operating delay: 3-4sec.

## Slide 23: conclusion
Both offline systems and their experiments are effective and accurate.
Enough number of test subjects but need to include more types of people.
A SSVEP-MI based hybrid online Simulink model developed successfully controls the movement of the 1 DOF artificial wrist.

## Slide 24: Future work
Multi-channel control for rehabilitation devices with more than 1 DOF
Other analysis methods to improve online model performance
Other combination of BCI systems

## Slide 25: Acknowledgement
Professor Shane Xie for giving us this opportunity and guide us throughout the year
PhD students Mr Kiran Atal, Mr Wei Meng, Mr Yongje Kwon, Mr Yifeng (Evan) Chen for giving us their professional help whenever we encountered technical problems
All the technicians for helping us with the equipment supports
All our friends for willing to be our test subjects

## Slide 26: Thank you!

## Slide 27
Q & A